## Highlights

- Four occupancy schedules drive one mixed-use tower, 2005 to 2030 scenarios.

- Survey-based schedules cut daytime office presence well below the code schedule.

- Office and retail energy follow survey occupancy; building peak timing does not.

- A winter-morning plant start-up sets the building peak under both schedule sets.

- Single-use intensity ranges cannot judge tenant uses inside a stacked tower.